Please Note:

This template is intended for educational purposes only, without any express or implied warranty of any kind, including warranties of accuracy, completeness, or fitness for any particular purpose.  You agree that your use of the template is without any recourse whatsoever to PG&E, SCE, SDG&E, or their affiliates. The template is a draft, and anyone using this document should seek the advice of an attorney to develop appropriate ordinance language to meet its jurisdiction’s specific needs, as state and local laws may differ.

This document is the product of a collaborative effort between Peninsula Clean Energy, Silicon Valley Clean Energy, and the Local Energy Codes team.

Please contact the Codes and Standards Local Energy Codes Team at info@LocalEnergyCodes.com for additional information.

Message paid for by customers.

This program is paid for by California utility customers and administered by Pacific Gas and Electric Company, San Diego Gas & Electric Company (SDG&E®), and Southern California Edison Company under the auspices of the California Public Utilities Commission and in support of the California Energy Commission.

REACH CODE IMPLEMENTATION RESOURCES TEMPLATE

2025 EXISTING SINGLE FAMILY FACTSHEET

Version 1.0, March 2026

This template is provided to assist local jurisdictions with the implementation of adopted reach codes. It is not intended to provide guidance on the development of a reach code ordinance. Anyone developing a reach code ordinance should seek the advice of an attorney to develop appropriate ordinance language to meet its jurisdiction’s specific needs, as state and local laws may differ. This template is intended for educational purposes only, without any express or implied warranty of any kind, including warranties of accuracy, completeness, or fitness for any particular purpose. You agree that your use of the template is without any recourse whatsoever to the developers of this document.

This document is intended as a compliance tool for typical 2025 local energy reach codes. 
Modify it as needed to suit local requirements (i.e. the blue italicized text).

Scope

This fact sheet includes requirements for the following reach code scopes:

- Flexible Compliance Pathway (FlexPath)

- AC Replacement/Addition

- Electric Readiness and Electric Service Panel Upgrade

- Cool Roofs

Instructions

- Make modifications following instructions and options in blue text. DELETE ALL BLUE TEXT BEFORE PUBLISHING.

- Delete sections that do not apply and edit requirements to align with local ordinance.

- Delete the cover page and this page.

Summary of Local Decarbonization Requirements for Projects on Existing Single Family Homes, Duplexes and Townhomes

The [jurisdiction] adopted standards that exceed minimum state energy and green building requirements. The standards were adopted under Ordinance [XXX] and are codified in section [YYY] of the municipal code.

These building standards have been established to ensure that construction is healthier for occupants, has limited impact on the environment, reduces demand for energy, and results in cost savings from building operation over the life of the building. This guide is intended to help applicants understand the process and specific local requirements that apply to their project.

If your project is subject to these standards, complete an application checklist and submit it with your building permit application.

For more information, please visit [jurisdiction website or other resource]

# What are the requirements and what projects are subject to them?

| Reach Code | When is it Required? | What is Required? |
| --- | --- | --- |
| FlexPath | - Additions or alterations that impact floor area equal to or greater than 500 square feet | Install energy upgrades from among a menu of options to achieve a target score |
| Heat Pump Space Conditioner | - Replacement or addition of a central air conditioner | Install a heat pump or efficiency upgrades |
| Electric Readiness | - Alteration or extension of electrical circuits in the kitchen, laundry area or near the water heater - Altering framing within 3 feet of a gas water heater - Extending gas line(s) to an outdoor appliance | Install circuits near a gas appliance |
| Electric Panel Upgrade | - Upgrade of electric service panel | Calculate loads for electric service panel upgrades |
| Cool Roof | - Replacement or addition of 50% or more of existing roofing | Install a heat-reflective roofing material |

# FlexPath (Flexible Compliance Pathway)

The FlexPath applies to certain additions or alterations that exceed a defined size or project valuation threshold. Instead of requiring specific measures, FlexPath allows applicants to choose from a menu of energy improvements to meet an overall performance target.

Additions and major alterations are significant investments that often occur only once every few decades. Because these projects already involve construction, financing, and disruption, they present an ideal opportunity to incorporate energy and decarbonization improvements at a low incremental cost. FlexPath provides flexibility while encouraging measures that improve comfort, functionality, safety, and long-term energy savings—benefiting both residents and the broader community.

# AC to Heat Pump Space Conditioner (Two-Way AC)

This policy leverages the efficiency of heat pumps by requiring similar energy performance for both options. When a central air conditioner is replaced or newly installed, the project must either:

- Install a heat pump that provides cooling and heating, in compliance with minimum State standards; or

- Install an air-conditioner and other energy improvements that go above State Code.

Replacing an air conditioner is often the best time for a household to switch to a heat pump. Existing AC systems typically already have the electrical wiring and capacity needed, making heat pumps a relatively straightforward replacement.

# Electric Readiness

The electric readiness requirements apply to alterations involving an electrical permit that take place within three feet of gas stoves/cooktops, dryers, and water heaters, electrical infrastructure (e.g., circuits, conduits, reserved breakers) will be required.

Electric readiness requirements capture a low-cost opportunity to prepare homes for future electrification. By installing infrastructure during planned work, residents gain flexibility and choice in future equipment replacements, potentially avoiding costly retrofits later.

# Electric Panel Upgrade

Applicants requesting an upgrade to the electrical service and/or panel must consider other options, including controls, switches, home energy management systems or other load optimization strategies. Applicants must include electrical load calculations that include such options. The intent of this requirement is to limit unnecessary upgrades, minimize the impact to the electrical grid, and help homeowners avoid unnecessary costs and project delays.

.

# Cool Roof

Whenever a new roof is installed, or 50% or more of the existing roof is replaced, the new roof must exceed state minimum standards.

Cool roofing materials are designed to reflect more sunlight and absorb less heat than a standard roof. This helps lower roof and attic temperatures on hot, sunny days to reduce the need for air conditioning.

# Application Process

Submit the appropriate checklist with your permit application.

# Resources

[Edit for resources that are available in your service territory such as those below]:

#### Rebates

- The Switch is On

#### Electrification

- PG&E Resources

  - Electric Home. Join the Charge.

  - A Handy Guide to Home Electrification for Single-Family Homeowners

- SDGE Electrify Your Home

- SCE A Handy Guide to Home Electrification